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[bookmark: _Toc146832329]1.Objective 
Use of CAF symbol.

[bookmark: _Toc146832330]2.Scope
This document applies to accredited Laboratories by CAF in the field of testing and calibration as per ISO/IEC 17025:2017 and medical testing Laboratories according to ISO 15189:2012/22. The CAF accredited Laboratories may use CAF symbol for claiming the accreditation for the specific scope of accreditation on the test and /or calibration certificate and / or reports.

[bookmark: _Toc146832331]3.Responsibility
 CAF accredited laboratories and CAF.

[bookmark: _Toc146832332]4.Reference
 ISO/IEC 17011:2017, ILAC P8.

[bookmark: _Toc146832333]5.CAF logo
The CAF logo is given below:
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This logo is for the use of CAF only. The accredited Laboratories  shall not use this logo. 

[bookmark: _Toc146832334]6.CAF Symbol
For the use of accredited Laboratories, the symbol of CAF is given below:
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C/T/M-XXXX







The certificate number shall be pasted just below. The CAF symbol shall be used, as below, by the accredited testing, calibration and medical testing Laboratories as 

T-XXXX: accreditation certificate allotted by CAF to the accredited Laboratories in the field of testing, 
C-XXXX accreditation certificate allotted by CAF to the accredited Laboratories in the field of Calibration,
M-XXXX accreditation certificate allotted by CAF to the accredited Laboratories in the field of Medical testing,

	For Testing
	For Calibration
	For Medical Testing

	[image: ]
	[image: ]
	[image: ]

	T-XXXX
	C-XXXX 
	M-XXXX





[bookmark: _Toc146832335]7. Use of CAF symbol for claiming accreditation status
1. 
1. 
1. 
1. 
1. 
1. 
1. 
7.1 Only CABs accredited by CAF shall use the CAF Accreditation Symbol to claim their accreditation status. The CAF Accreditation Symbol shall be used only in the form provided by CAF and strictly in accordance with this document.
7.2 Upon the grant of accreditation, CAF shall provide the accredited CAB with the CAF Accreditation Symbol in approved electronic formats and sizes for authorized use.
7.3 The CAF Accreditation Symbol shall be used only in relation to the locations, activities, and scope of accreditation granted by CAF. The symbol shall not be used for any non-accredited activities, locations, or services.
7.4 An accredited CAB may use the CAF Accreditation Symbol on its reports, certificates (where permitted), stationery, brochures, websites, advertisements, promotional materials, and other communication media, provided such use complies with the requirements of this document and does not create any misleading impression regarding the scope or status of accreditation.
7.5 The CAF Accreditation Symbol shall not be used by franchisees, branch offices, subcontractors, affiliates, or any other organization or person unless they are covered under the CAB's accredited scope and such use is expressly authorized by CAF. Organizations merely using or relying on the results issued by an accredited CAB shall not use the CAF Accreditation Symbol.
7.6 Upon suspension, reduction, withdrawal, expiry, cancellation, or debarment of accreditation, or during any break in the accreditation cycle, the CAB shall immediately discontinue the use of the CAF Accreditation Symbol and shall cease making any reference to its accreditation status on reports, certificates, calibration labels, promotional materials, websites, social media platforms, advertisements, letterheads, or any other documents or media.
7.7 Applicant CABs that have not been granted accreditation shall not use the CAF Accreditation Symbol or make any representation that may imply they are accredited by CAF.
7.8 The CAF Accreditation Symbol shall not be affixed to any product, item, or sample that has been subjected to conformity assessment, as this could imply product approval or certification by CAF. This restriction does not apply to calibration labels issued by accredited calibration laboratories, where such use is permitted by the applicable accreditation requirements.
7.9 The CAF Accreditation Symbol shall not be altered, distorted, recoloured, cropped, or modified in any manner without the prior written approval of CAF. 
 7.10 The CAF Accreditation Symbol shall always remain clear, legible, and proportionate and shall not be displayed in a manner that could mislead users regarding the scope or status of accreditation. 
7.11 The CAB shall ensure that any reference to its accreditation status does not imply that CAF has certified or approved a product, process, management system, person, or service. 
7.12 CAF reserves the right to require the CAB to discontinue or correct any improper or misleading use of the CAF Accreditation Symbol and may take appropriate action, including suspension or withdrawal of accreditation, where misuse is not rectified.
[bookmark: _Toc146832336]8. Calibration Labels on equipment

8.1 CAF-accredited calibration laboratories may use the CAF Accreditation Symbol on calibration labels affixed to equipment or instruments calibrated by the accredited laboratory, provided such use complies with the requirements of this document and is limited to activities covered under the accredited scope.
8.2 The calibration label bearing the CAF Accreditation Symbol shall not state or imply that the equipment or instrument has been approved, certified, endorsed, or calibrated by CAF. The symbol shall only indicate that the calibration was performed by a calibration laboratory accredited by CAF.
8.3 A calibration label bearing the CAF Accreditation Symbol should normally include, as applicable, the following information:
a) The name of the CAF-accredited calibration laboratory and its accreditation number;
b) Identification of the calibrated equipment or instrument;
c) The date of calibration;
d) A reference to the corresponding calibration certificate issued for the calibration.
8.4 Where space limitations prevent inclusion of all the above information on the calibration label, the label shall, at a minimum, contain sufficient information to uniquely identify the calibrated equipment and provide traceability to the associated calibration certificate.
8.5 The CAF Accreditation Symbol shall not be used on calibration labels issued for calibrations that are outside the laboratory's accredited scope or performed at locations not covered by the accreditation.

9.Reporting results not covered by the scope of accreditation

9.1 In case the conformity assessment activities are not covered in the accredited scope or if the scope of accreditation is reduced, the Laboratories shall mention or identify the same by putting an Asterix ‘’ mark on that result and it shall be clearly mentioned in the certificate that Asterix marked result is not covered under CAF accreditation.

9.2 There shall be nothing in any test report or calibration certificate or in any attachments or other materials that implies, or may lead any user of the results or any interested party to believe that the conformity assessment activity is covered by the scope of accreditation when it is not.

10.Misuse of CAF symbol
1. 
2. 
3. 
4. 
5. 
6. 
7. 
8. 

10.1 In case any CAF accredited laboratory is found misusing or making a false claim of CAF symbol, after due investigation adverse action shall be initiated as per CAF-113.

10.2 The laboratory shall strictly follow the conditions of this document and in case found not following the conditions, adverse action shall be initiated by CAF as per CAF-113.
image2.png




image1.png




